## Slide 1
Healthcare Diagnostics: Use AI to analyze medical imaging for predicting the likelihood of certain conditions
Chest X-Ray Classification using Deep Learning (MobileNetV2 + Grad-CAM)
Presented By::
SHUBH PRADHAN 23030124195
VANSH MAHAJAN 23030124125
HEMANGI SINGLA 23030124171
SAMPADA BHARARA 23030124162

## Slide 2
Introduction
  Local Windows System
  Jenkins (CI/CD Environment)
This project is a Deep Learning-based Chest X-Ray Classification System
  NORMAL
  PNEUMONIA
It classifies X-ray images into:
Built using Transfer Learning with MobileNetV2
Designed to run on:
Includes Grad-CAM for Explainable AI visualization

## Slide 3
Problem Statement
  Manual diagnosis of chest X-rays is time-consuming
  High chances of human error in medical imaging
  Need for an automated AI-based classification system
  Goal:
    Fast
    Accurate
    Explainable Pneumonia Detection

## Slide 4
Objectives of the Project
Develop an optimized CNN model for X-ray classification
Achieve high accuracy on CPU systems
Use Transfer Learning for faster training
Implement Grad-CAM for model explainability
Make the system Jenkins-compatible

## Slide 5
  Built a deep learning model to classify chest X-ray images (NORMAL vs PNEUMONIA)
  Used MobileNetV2 with transfer learning for high accuracy and fast training
  Applied preprocessing and data augmentation to improve model performance
  Fine-tuned the model by freezing early layers and training last layers
  Evaluated using accuracy, confusion matrix, and classification report
  Implemented Grad-CAM for explainable predictions
  Designed to run on CPU and Jenkins (headless automated environment)

## Slide 6
TECHNOLOGIES & TOOLS USED
Python: Main language for developing the project
TensorFlow & Keras: For building and training the deep learning model
OpenCV (cv2): For image processing and Grad-CAM visualization
NumPy: For numerical and array operations
Matplotlib: For plotting graphs and results
Windows OS: Local environment for training and testing the model
Jenkins: For automated training and CI/CD execution
Scikit-learn: For evaluation metrics and performance analysis

## Slide 7
DATASET DESCRIPTION
  Dataset: Chest X-Ray Images
  Directory Structure:
    Train Folder
    Validation Folder
    Test Folder
  Classes:
    NORMAL
    PNEUMONIA
  Images resized to: 160 × 160 pixels

## Slide 8
Data Preprocessing & Augmentation
  RESCALING PIXEL VALUES (1/255)
  Image resizing (160×160)
  Rotation (10°)
  Zoom (0.1)
  Horizontal flipping
Benefits:
  Prevents overfitting
  Improves model generalization
  Enhances accuracy

## Slide 9
MODEL ARCHITECTURE – MOBILENETV2
Transfer Learning is used for better performance
Lightweight and efficient
Suitable for CPU training
Pretrained CNN Architecture
Faster than traditional CNN models
Uses Depthwise Separable Convolutions

## Slide 10
TRANSFER LEARNING STRATEGY
  Loaded pretrained ImageNet weights manually (.h5)
  Early Layers: Frozen (Generic features)
  Last 40 Layers: Unfrozen (Fine-Tuning)
  Helps model learn X-ray specific patterns
  Reduces training time significantly

## Slide 11
CUSTOM CLASSIFICATION HEAD
Layers added on top of base model:
  GlobalAveragePooling2D
  Dense Layer (ReLU – 128 neurons)
  Dropout (0.4) → Prevent Overfitting
  Final Dense Layer (Softmax)
Purpose:
  Improve classification accuracy
  Reduce overfitting

## Slide 12
Model Compilation
  Optimizer: Adam (Learning Rate = 0.0001)
  Loss Function: Categorical Crossentropy
  Evaluation Metric: Accuracy
Why Adam?
  Fast convergence
  Stable training
  Good for deep learning models

## Slide 13
Model Evaluation Metrics
  Test Accuracy
  Classification Report
  Confusion Matrix
  Precision,
  Recall,
  F1-Score

## Slide 14
Grad-CAM
Grad-CAM = Gradient-weighted Class Activation Mapping
Functions:
  Generates heatmaps on X-ray images
  Shows important regions used for prediction
  Improves model transparency in medical AI
Benefits:
  Doctor-friendly visualization
  Trustworthy AI decisions

## Slide 15
  Training accuracy increases steadily with each epoch
  Validation accuracy improves rapidly after initial training
  Minor fluctuations indicate slight overfitting or data variation
  Both curves remain high, showing strong model performance
  Overall, the model achieves good accuracy and generalization
ACCURACY CURVE

## Slide 16
  High correct predictions for both NORMAL and PNEUMONIA classes
  Very few misclassifications between the two categories
  Model accurately identifies pneumonia cases
  Strong classification performance with good reliability
  Indicates effective learning and good diagnostic capability
CONFUSION MATRIX

## Slide 17
  Training loss decreases steadily over epochs
  Validation loss drops sharply in early epochs
  Slight increase at mid-epoch indicates minor overfitting
  Both losses remain low, showing stable learning
  Overall model converges well with good optimization
LOSS CURVE

## Slide 18
APPLICATIONS
  HIGH ACCURACY WITH TRANSFER LEARNING
  CPU-friendly (Laptop compatible)
  Jenkins automation support
  Explainable AI using Grad-CAM
  Faster training with Early Stopping
ADVANTAGES OF THE PROPOSED SYSTEM
  MEDICAL DIAGNOSIS SUPPORT SYSTEMS
  Hospitals & Radiology Labs
  AI Healthcare Research
  Automated Pneumonia Detection
  Smart Medical Imaging Systems

## Slide 19
CONCLUSION
FUTURE SCOPE
  Successfully developed an optimized Chest X-Ray classification model
  Used MobileNetV2 + Transfer Learning + Fine-Tuning
  Achieved stable and efficient training on CPU
  Implemented Grad-CAM for model explainability
  Suitable for academic, research, and real-world healthcare applications
Deploy as a Web Application
Integrate with Cloud (AWS/GCP/Azure)
Increase dataset size for better accuracy
Use advanced models (EfficientNet, ResNet)
Real-time X-ray analysis system

## Slide 20
Thank You